## Slide 1: KONGSBERG Oil & Gas Technologies AS
How to connect K-Spice to 3rd party OPC applications

## Slide 2: Integration of K-Spice to 3rd Party OPC Applications
OpcDaCom (OPC-Client) to an OPC-Server in the 3rd Party Application
  Ref. example in slide 4, Matrikon OPC Server to Softing OPC Client

## Slide 3: Software Components
SimExplorer
(e.g. Instructor
Interface)
SimExplorer
(e.g. Operator
Interface)
Script (MCL) Interpreter
Web
Service
3rd Party
OPC Server
Simulation
Manager
Model
Server
Model
Server
Model
Server
Model
Server
Model
Server
External System
Driver
External System
Driver
External System
Driver
External System
Driver
External System
Driver
External System
Driver
External System
Driver
External
Systems
External System
Driver
External System
Driver
External System
Driver
External
Models
  Starts and manages models and communication drivers
  Broker between the models and the user interface
  Controls entire simulation system
Each model server runs a set of modules that simulate a process or do a calculation
Control systems, historians or safety systems
LedaFlow, other multiphase simulators, anti-surge controllers.
User interfaces for configuration and operation
Automation of simulation
Enterprise connectivity and data sharing
Communication to control systems, historians or safety systems

## Slide 4: Connect K-Spice to 3rd Party Applications via OPC-DA
K-Spice
Simulation Manager
OpcDaCom
(OPC Client)
Matrikon OPC Server
I/O database (mdb)
Softing
OPC Client
3rd Party OPC Applications
K-Spice

## Slide 5: Connect K-Spice “Plant” to K-Spice “Online” via OPC-DA
K-Spice
Simulation Manager
OpcDaCom
(OPC Client)
Matrikon OPC Server
I/O database (mdb)
K-Spice “Plant”
OpcDaCom
(OPC Client)
K-Spice
Simulation Manager
K-Spice “Online”
I/O database (mdb)

## Slide 6: Connect K-Spice to 3rd Party Applications via OPC-DA
K-Spice
Simulation Manager
DeltaV-Com
(OPC Client)
Delta V
OPC Tunneler
I/O database (mdb)
K-Spice PC
Delta V
OPC Tunneler
Delta V
OPC Server
Cogent
Datahub
DeltaV-PC

## Slide 7: K-Spice OpcDaCom Setup